## Security_Findings
Finding_ID | Finding_Type | Rule_ID | Rule_Name | Short_Description | Full_Description | Message | Severity | CWE_ID | CVE_ID | CVSS_Base_Score | Component_Package | Vendor | Product | Affected_Versions | Detection_Source | HIPAA_Rules_Impacted | GDPR_Articles_Impacted | ISO_27001_Control | IEC_81001_5_1_Clause | FDA_Premarket_Topic | PHI_PII_Impact_Summary | Healthcare_Capability | Fix_Available | Workaround_Available | Target_Fix_Version | Remediation_Owner | Status | Affected_Locations | Report_Generated | HIPAA_Section | HIPAA_Safeguard_Type | HIPAA_Requirement | HIPAA_Details | HIPAA_Reference | HIPAA_Relevant_CVEs | HIPAA_CVE_Score | Medical_Tech_Impact | Match_Source
MATCHED-001 | CVE Database Match | cpp/sql-injection | SQL injection | SQL injection | String concatenation in SQL query can lead to SQL injection | Found sql injection at ./main.cpp:47: std::string query = "SELECT * FROM users WHERE name = '" + userInput + "'";... | HIGH | CWE-89 | CVE-2025-3214 | High | libcurl | nginx | IntraSight | <=1.2.3 | GHAS Dependabot | §164.312(b) Audit Controls | Art. 5 | A.14 System acquisition, development & maintenance | Clause 5 (secure SDLC) | Patching & updates | No direct PHI impact expected | HC-AUD-02 | Yes | TBD | 6.0.2 | Cloud Ops | Open | ./main.cpp:47:30 | 2025-09-10 21:16:30 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | HC-AUD-02 | CVE Database
MATCHED-002 | CVE Database Match | cpp/command-line-injection | Command injection | Command injection | Use of system() with user input can lead to command injection | Found command injection at ./main.cpp:56: system(command.c_str()); // Dangerous: command injection... | CRITICAL | CWE-78 | CVE-2025-07801 | Critical | rest-gateway | Open Source | Capsule MDIP | <=1.2.3 | GHAS Code Scanning | §164.312(e) Transmission Security | Art. 32 | A.14 System acquisition, development & maintenance | Clause 5 (secure SDLC) | SBOM coverage | Potential integrity/availability impact; PHI exposure depends on deployment | HC-INT-05 | TBD | TBD | 42.1 | Networking | Mitigation Planned | ./main.cpp:56:5 | 2025-09-10 21:16:30 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | HC-INT-05 | CVE Database
MATCHED-003 | CVE Database + HIPAA Mapping Match | cpp/information-disclosure | Information disclosure | Information disclosure | Sensitive information potentially exposed in output | Found information disclosure at ./main.cpp:61: printf(userMessage); // Unsafe format string... | MEDIUM | CWE-200 | CVE-2025-3204 | Critical | python | libxml2 | Capsule MDIP | <=1.2.3 | GHAS Dependabot |  | Art. 5 | A.14 System acquisition, development & maintenance | Clause 5 (secure SDLC) | Patching & updates | No direct PHI impact expected | HC-INT-05 | Yes | Yes | 6.0.1 | Platform Security | In Analysis | ./main.cpp:61:5 | 2025-09-10 21:16:30 | Administrative | Evaluation | Periodic evaluation | Evaluate effectiveness of security policies and procedures | 45 CFR § 164.308(a)(8) | CVE-2021-27410 (Philips IntelliBridge), CVE-2023-0754 (Medtronic) | 6.9, 7.4 | Lack of periodic evaluation led to persistent vulnerabilities | CVE Database + HIPAA Mapping
MATCHED-004 | CVE Database + HIPAA Mapping Match | cpp/information-disclosure | Information disclosure | Information disclosure | Sensitive information potentially exposed in output | Found information disclosure at ./main.cpp:71: std::cout << line << std::endl;... | MEDIUM | CWE-200 | CVE-2025-3204 | Critical | python | libxml2 | Capsule MDIP | <=1.2.3 | GHAS Dependabot |  | Art. 5 | A.14 System acquisition, development & maintenance | Clause 5 (secure SDLC) | Patching & updates | No direct PHI impact expected | HC-INT-05 | Yes | Yes | 6.0.1 | Platform Security | In Analysis | ./main.cpp:71:18 | 2025-09-10 21:16:30 | Administrative | Evaluation | Periodic evaluation | Evaluate effectiveness of security policies and procedures | 45 CFR § 164.308(a)(8) | CVE-2021-27410 (Philips IntelliBridge), CVE-2023-0754 (Medtronic) | 6.9, 7.4 | Lack of periodic evaluation led to persistent vulnerabilities | CVE Database + HIPAA Mapping
MATCHED-005 | CVE Database Match | cpp/double-free | Double free | Double free | Memory freed twice can lead to undefined behavior | Found double free at ./main.cpp:125: delete[] data; // Should be delete[] for arrays... | HIGH | CWE-415 | CVE-2025-41501 | High | libjpeg | Open Source | Pinnacle MM Sim | 1.1.1k-1.1.1q | GHAS Dependabot | §164.312(c) Integrity | Art. 5 | A.14 System acquisition, development & maintenance | Clause 5 (secure SDLC) | Coordinated vulnerability disclosure | Potential integrity/availability impact; PHI exposure depends on deployment | HC-ICS-12 | No | TBD | RCO-23 | Networking | Mitigation Planned | ./main.cpp:125:9 | 2025-09-10 21:16:30 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | HC-ICS-12 | CVE Database
MATCHED-006 | HIPAA Mapping Match | cpp/buffer-overread | Buffer over-read | Buffer over-read | Array access without bounds checking | Found buffer over-read at ./main.cpp:129: return data[index]; // No bounds checking... | MEDIUM | CWE-125 | N/A | N/A | N/A | N/A | N/A | N/A | CodeQL | [11 empty] | Open | ./main.cpp:129:9 | 2025-09-10 21:16:30 | Physical | Facility Access Controls | Control physical access | Implement procedures to limit physical access to systems housing ePHI | 45 CFR § 164.310(a) | CVE-2021-27408 (Philips), CVE-2022-26351 (GE) | 6.8, 7.2 | Physical access vulnerabilities in imaging and monitoring systems | HIPAA Mapping
MATCHED-007 | CVE Database Match | cpp/string-concatenation-injection | String concatenation vulnerability | String concatenation vulnerability | Direct string concatenation with user input in database query | Found string concatenation vulnerability in main.cpp | HIGH | CWE-89 | CVE-2025-3214 | High | libcurl | nginx | IntraSight | <=1.2.3 | GHAS Dependabot | §164.312(b) Audit Controls | Art. 5 | A.14 System acquisition, development & maintenance | Clause 5 (secure SDLC) | Patching & updates | No direct PHI impact expected | HC-AUD-02 | Yes | TBD | 6.0.2 | Cloud Ops | Open | main.cpp:47:20 | 2025-09-10 21:16:30 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | HC-AUD-02 | CVE Database
MATCHED-008 | CVE Database Match | cpp/command-concatenation-injection | Command concatenation vulnerability | Command concatenation vulnerability | Direct string concatenation with user input in system command | Found command concatenation vulnerability in main.cpp | CRITICAL | CWE-78 | CVE-2025-07801 | Critical | rest-gateway | Open Source | Capsule MDIP | <=1.2.3 | GHAS Code Scanning | §164.312(e) Transmission Security | Art. 32 | A.14 System acquisition, development & maintenance | Clause 5 (secure SDLC) | SBOM coverage | Potential integrity/availability impact; PHI exposure depends on deployment | HC-INT-05 | TBD | TBD | 42.1 | Networking | Mitigation Planned | main.cpp:55:20 | 2025-09-10 21:16:30 | N/A | N/A | N/A | N/A | N/A | N/A | N/A | HC-INT-05 | CVE Database
UNMATCHED-001 | CodeQL Finding (No CVE/HIPAA Match) | cpp/memory-leak | Potential memory leak | Potential memory leak | Dynamic allocation without proper cleanup | Found potential memory leak at ./main.cpp:17: buffer = new char[size]; // Raw pointer usage... | MEDIUM | CWE-401 | N/A | N/A | N/A | N/A | N/A | N/A | CodeQL | [11 empty] | New | ./main.cpp:17:18 | 2025-09-10 21:16:30 | N/A | N/A | N/A | N/A | N/A | N/A | N/A |  | No Match
UNMATCHED-002 | CodeQL Finding (No CVE/HIPAA Match) | cpp/unbounded-write | Potentially unsafe string copy | Potentially unsafe string copy | Use of strcpy without bounds checking can lead to buffer overflow | Found potentially unsafe string copy at ./main.cpp:27: strcpy(buffer, input.c_str()); // Unsafe copy... | HIGH | CWE-120 | N/A | N/A | N/A | N/A | N/A | N/A | CodeQL | [11 empty] | New | ./main.cpp:27:9 | 2025-09-10 21:16:30 | N/A | N/A | N/A | N/A | N/A | N/A | N/A |  | No Match
UNMATCHED-003 | CodeQL Finding (No CVE/HIPAA Match) | cpp/dangerous-cast | Dangerous cast | Dangerous cast | Unsafe casting can lead to undefined behavior | Found dangerous cast at ./main.cpp:80: int* intPtr = reinterpret_cast<int*>(ptr);... | MEDIUM | CWE-704 | N/A | N/A | N/A | N/A | N/A | N/A | CodeQL | [11 empty] | New | ./main.cpp:80:19 | 2025-09-10 21:16:30 | N/A | N/A | N/A | N/A | N/A | N/A | N/A |  | No Match
UNMATCHED-004 | CodeQL Finding (No CVE/HIPAA Match) | cpp/memory-leak | Potential memory leak | Potential memory leak | Dynamic allocation without proper cleanup | Found potential memory leak at ./main.cpp:93: char* ptr = new char[100];... | MEDIUM | CWE-401 | N/A | N/A | N/A | N/A | N/A | N/A | CodeQL | [11 empty] | New | ./main.cpp:93:17 | 2025-09-10 21:16:30 | N/A | N/A | N/A | N/A | N/A | N/A | N/A |  | No Match
UNMATCHED-005 | CodeQL Finding (No CVE/HIPAA Match) | cpp/unbounded-write | Potentially unsafe string copy | Potentially unsafe string copy | Use of strcpy without bounds checking can lead to buffer overflow | Found potentially unsafe string copy at ./main.cpp:94: strcpy(ptr, "Hello");... | HIGH | CWE-120 | N/A | N/A | N/A | N/A | N/A | N/A | CodeQL | [11 empty] | New | ./main.cpp:94:5 | 2025-09-10 21:16:30 | N/A | N/A | N/A | N/A | N/A | N/A | N/A |  | No Match
UNMATCHED-006 | CodeQL Finding (No CVE/HIPAA Match) | cpp/memory-leak | Potential memory leak | Potential memory leak | Dynamic allocation without proper cleanup | Found potential memory leak at ./main.cpp:121: data = new T[capacity];... | MEDIUM | CWE-401 | N/A | N/A | N/A | N/A | N/A | N/A | CodeQL | [11 empty] | New | ./main.cpp:121:16 | 2025-09-10 21:16:30 | N/A | N/A | N/A | N/A | N/A | N/A | N/A |  | No Match

## Executive_Summary
Metric | Value | Report_Generated
Total Security Findings | 14 | 2025-09-10 21:16:30
Matched with CVE Database | 7 | 2025-09-10 21:16:30
Matched with HIPAA Mapping | 3 | 2025-09-10 21:16:30
Dual Database Matches | 2 | 2025-09-10 21:16:30
Unmatched Findings | 6 | 2025-09-10 21:16:30
HIPAA Violations (CVE DB) | 5 | 2025-09-10 21:16:30
GDPR Violations | 7 | 2025-09-10 21:16:30
ISO 27001 Violations | 7 | 2025-09-10 21:16:30
Medical Technology Impacts | 3 | 2025-09-10 21:16:30

## CVE_Database_Reference
CVE ID | Title/Short Description | CWE | Component/Package | Vendor | Product(s) | Affected Version(s) | SBOM PURL/Ref | Detection Source (e.g., GHAS, NVD, Qualys) | Reported Date | CVSS Base | CVSS Vector | EPSS (optional) | Exploit Maturity | Exposure | Data Category (from DataCategories) | PHI/PII Impact Summary | HIPAA Rules Impacted | GDPR Articles Impacted | IEC 81001-5-1 Clause | ISO 27001 Control | FDA Premarket Topic | Healthcare Capability (from Capabilities) | Customer Advisory Required? | Workaround Available? | Fix Available? | Target Fix Version/Release | Remediation Owner | Planned Mitigation | Status | Due Date | Residual Risk (post-mitigation) | Evidence Link/Location | Notes
CVE-2025-3200 | java: vulnerability may allow privilege escalation | CWE-787 | java | Oracle | CT 5400 (RT) | 3.x before 3.4.5 | pkg:generic/java@3.xbefore3.4.5 | GHAS Dependabot | 2025-08-11 | Medium | BaseScore:6.4 |  | None Known | Partner-facing | PII-General | No direct PHI impact expected |  | Art. 5 | Clause 5 (secure SDLC) | A.14 System acquisition, development & maintenance | SBOM coverage | HC-VUL-08 | Yes | No | TBD | 6.0.2 | Networking | Upgrade dependency | Open | 2025-08-27 | High | PSRA/RMM row TBD
CVE-2025-3201 | nginx: vulnerability may allow privilege escalation | CWE-284 | nginx | curl | IntraSight | 3.x before 3.4.5 | pkg:generic/nginx@3.xbefore3.4.5 | GHAS Dependabot | 2025-08-18 | Critical | BaseScore:9.8 |  | None Known | Cloud (SaaS/PaaS) | PII-General | No direct PHI impact expected | §164.312(b) Audit Controls | Art. 5 | Clause 5 (secure SDLC) | A.14 System acquisition, development & maintenance | Patching & updates | HC-AUD-02 | Yes | Yes | TBD | RCO-23 | Networking | Backport patch | In Analysis | 2025-09-03 | High | PSRA/RMM row TBD
CVE-2025-3202 | openssl: vulnerability may allow privilege escalation | CWE-79 | openssl | nginx | IntraSight | 3.x before 3.4.5 | pkg:generic/openssl@3.xbefore3.4.5 | NVD | 2025-08-08 | High | BaseScore:8.2 |  | Automated Exploit | Internal-only | PHI-Clinical | No direct PHI impact expected | §164.312(d) Person/Entity Authentication | Art. 5 | Clause 5 (secure SDLC) | A.14 System acquisition, development & maintenance | Patching & updates | HC-REM-06 | TBD | No | Yes | 6.0.2 | Compliance | Config hardening | Open | 2025-08-20 | High | PSRA/RMM row TBD
CVE-2025-3203 | openssl: vulnerability may allow privilege escalation | CWE-22 | openssl | Microsoft | IBE Gateway | 3.x before 3.4.5 | pkg:generic/openssl@3.xbefore3.4.5 | GHAS Code Scanning | 2025-08-12 | Low | BaseScore:3.9 |  | None Known | Internal-only | OPD | No direct PHI impact expected | §164.312(d) Person/Entity Authentication | Art. 5 | Clause 5 (secure SDLC) | A.14 System acquisition, development & maintenance | Patching & updates | HC-REM-06 | TBD | Yes | No | 6.0.1 | Compliance | Upgrade dependency | Open | 2025-08-17 | High | PSRA/RMM row TBD
CVE-2025-3204 | python: vulnerability may allow privilege escalation | CWE-200 | python | libxml2 | Capsule MDIP | <=1.2.3 | pkg:generic/python@<=1.2.3 | GHAS Dependabot | 2025-09-03 | Critical | BaseScore:9.8 |  | Exploited in the wild | Clinical device | OPD | No direct PHI impact expected |  | Art. 5 | Clause 5 (secure SDLC) | A.14 System acquisition, development & maintenance | Patching & updates | HC-INT-05 | TBD | Yes | Yes | 6.0.1 | Platform Security | Backport patch | In Analysis | 2025-10-09 | High | PSRA/RMM row TBD
CVE-2025-3205 | java: vulnerability may allow privilege escalation | CWE-22 | java | Oracle | IBE Gateway | <=1.2.3 | pkg:generic/java@<=1.2.3 | NVD | 2025-08-15 | High | BaseScore:8.2 |  | POC | On-prem customer network | No-Personal-Data | No direct PHI impact expected | §164.312(b) Audit Controls | Art. 5 | Clause 5 (secure SDLC) | A.14 System acquisition, development & maintenance | Patching & updates | HC-AUD-02 | No | Yes | Yes | 42.1 | Networking | Backport patch | Mitigation Planned | 2025-08-06 | Low | PSRA/RMM row TBD
CVE-2025-3206 | httpd: vulnerability may allow privilege escalation | CWE-79 | httpd | Linux | CT 5400 (RT) | 3.x before 3.4.5 | pkg:generic/httpd@3.xbefore3.4.5 | NVD | 2025-08-15 | High | BaseScore:8.2 |  | None Known | Internal-only | OPD | No direct PHI impact expected |  | Art. 32 | Clause 5 (secure SDLC) | A.14 System acquisition, development & maintenance | Patching & updates | HC-CLD-14 | Yes | Yes | Yes | RCO-23 | Compliance | Backport patch | Mitigation Planned | 2025-09-06 | Low | PSRA/RMM row TBD
CVE-2025-3207 | python: vulnerability may allow privilege escalation | CWE-200 | python | Oracle | Pinnacle MM Sim | <2.8.0 | pkg:generic/python@<2.8.0 | GHAS Dependabot | 2025-08-10 | Medium | BaseScore:6.4 |  | POC | Internet-exposed | PHI-Identifier | No direct PHI impact expected |  | Art. 32 | Clause 5 (secure SDLC) | A.14 System acquisition, development & maintenance | Patching & updates | HC-CLD-14 | Yes | Yes | No | 6.0.1 | Platform Security | Upgrade dependency | In Analysis | 2025-08-27 | High | PSRA/RMM row TBD
CVE-2025-3208 | kernel: vulnerability may allow privilege escalation | CWE-787 | kernel | Philips | IntraSight | 1.1.1k-1.1.1q | pkg:generic/kernel@1.1.1k-1.1.1q | NVD | 2025-08-05 | Medium | BaseScore:6.4 |  | Exploited in the wild | Internal-only | No-Personal-Data | No direct PHI impact expected |  | Art. 5 | Clause 5 (secure SDLC) | A.14 System acquisition, development & maintenance | SBOM coverage | HC-VUL-08 | No | Yes | Yes | RCO-23 | Platform Security | Config hardening | Mitigation Planned | 2025-08-23 | Medium | PSRA/RMM row TBD
CVE-2025-3209 | python: vulnerability may allow privilege escalation | CWE-284 | python | Philips | IntraSight | 3.x before 3.4.5 | pkg:generic/python@3.xbefore3.4.5 | Qualys VMaaS | 2025-08-11 | High | BaseScore:8.2 |  | Exploited in the wild | Partner-facing | PHI-Identifier | No direct PHI impact expected |  | Art. 5 | Clause 5 (secure SDLC) | A.14 System acquisition, development & maintenance | Patching & updates | HC-ICS-12 | Yes | TBD | No | 6.0.1 | Device SW | Config hardening | Open | 2025-08-22 | High | PSRA/RMM row TBD

## HIPAA_Mapping_Reference
Section | Safeguard Type | Requirement | Details | Reference | Relevant CVEs | CVE Score | Medical Tech Impact | CWE
Administrative | Risk Analysis | Conduct risk analysis | Assess threats and vulnerabilities to ePHI and determine risk levels | 45 CFR § 164.308(a)(1) | CVE-2023-26083 (Philips Vue PACS), CVE-2022-32548 (GE Healthcare) | 7.5, 8.2 | Risk analysis failures in PACS systems and imaging devices | CWE-306
Administrative | Risk Management | Implement risk management measures | Mitigate identified risks to a reasonable and appropriate level | 45 CFR § 164.308(a)(1)(ii)(B) | CVE-2022-22765 (BD Pyxis), CVE-2023-0863 (Zoll Defibrillators) | 7.8, 8.0 | Poor risk mitigation in medication and cardiac devices | CWE-306
Administrative | Evaluation | Periodic evaluation | Evaluate effectiveness of security policies and procedures | 45 CFR § 164.308(a)(8) | CVE-2021-27410 (Philips IntelliBridge), CVE-2023-0754 (Medtronic) | 6.9, 7.4 | Lack of periodic evaluation led to persistent vulnerabilities | CWE-200
Administrative | Audit Controls | Implement audit controls | Record and examine system activity related to ePHI | 45 CFR § 164.312(b) | CVE-2022-26352 (GE Healthcare), CVE-2023-0651 (Philips) | 7.6, 7.9 | Inadequate logging and audit trail in imaging systems | CWE-200
Administrative | Incident Response | Establish incident response procedures | Document and test procedures for responding to security incidents | HHS NPRM 2024 | CVE-2023-43208 (Philips), CVE-2022-22766 (BD), CVE-2023-0650 (Zoll) | 8.1, 7.7, 8.3 | Encryption bypass, MFA misconfigurations, and scan failures | CWE-311, CWE-287
Administrative | Documentation | Maintain written documentation | Document all policies, procedures, plans, and analyses | HHS NPRM 2024 | CVE-2023-43208 (Philips), CVE-2022-22766 (BD), CVE-2023-0650 (Zoll) | 8.1, 7.7, 8.3 | Encryption bypass, MFA misconfigurations, and scan failures | CWE-311, CWE-287
Technical | Vulnerability Scanning | Conduct vulnerability scans | Perform scans at least every 6 months | HHS NPRM 2024 | CVE-2023-43208 (Philips), CVE-2022-22766 (BD), CVE-2023-0650 (Zoll) | 8.1, 7.7, 8.3 | Encryption bypass, MFA misconfigurations, and scan failures | CWE-311, CWE-287
Technical | Penetration Testing | Conduct penetration testing | Perform tests at least once every 12 months | HHS NPRM 2024 | CVE-2023-43208 (Philips), CVE-2022-22766 (BD), CVE-2023-0650 (Zoll) | 8.1, 7.7, 8.3 | Encryption bypass, MFA misconfigurations, and scan failures | CWE-311, CWE-287
Technical | Encryption | Encrypt ePHI | Encrypt ePHI at rest and in transit | HHS NPRM 2024 | CVE-2023-43208 (Philips), CVE-2022-22766 (BD), CVE-2023-0650 (Zoll) | 8.1, 7.7, 8.3 | Encryption bypass, MFA misconfigurations, and scan failures | CWE-311, CWE-287
Technical | Multi-Factor Authentication | Implement MFA | Use multi-factor authentication with limited exceptions | HHS NPRM 2024 | CVE-2023-43208 (Philips), CVE-2022-22766 (BD), CVE-2023-0650 (Zoll) | 8.1, 7.7, 8.3 | Encryption bypass, MFA misconfigurations, and scan failures | CWE-311, CWE-287
Technical | Network Segmentation | Segment networks | Implement network segmentation to protect ePHI | HHS NPRM 2024 | CVE-2023-43208 (Philips), CVE-2022-22766 (BD), CVE-2023-0650 (Zoll) | 8.1, 7.7, 8.3 | Encryption bypass, MFA misconfigurations, and scan failures | CWE-311, CWE-287
Technical | Backup and Recovery | Establish backup and recovery controls | Separate technical controls for backup and recovery of ePHI | HHS NPRM 2024 | CVE-2023-43208 (Philips), CVE-2022-22766 (BD), CVE-2023-0650 (Zoll) | 8.1, 7.7, 8.3 | Encryption bypass, MFA misconfigurations, and scan failures | CWE-311, CWE-287
Physical | Facility Access Controls | Control physical access | Implement procedures to limit physical access to systems housing ePHI | 45 CFR § 164.310(a) | CVE-2021-27408 (Philips), CVE-2022-26351 (GE) | 6.8, 7.2 | Physical access vulnerabilities in imaging and monitoring systems | CWE-125, CWE-200
Physical | Workstation Security | Secure workstations | Implement physical safeguards for workstations accessing ePHI | 45 CFR § 164.310(c) | CVE-2023-0652 (Lahey CT Scanner), CVE-2022-26353 (Philips) | 7.6, 7.5 | Unsecured workstations used in radiology and diagnostics | CWE-200
Physical | Device and Media Controls | Manage devices and media | Implement policies for disposal and reuse of hardware and media | 45 CFR § 164.310(d) | CVE-2022-22767 (BD), CVE-2023-0653 (Medtronic) | 7.3, 7.9 | Improper disposal and reuse of medical devices with PHI | CWE-312

## Medical_Tech_Impact_Analysis
Finding_ID | CWE_ID | HIPAA_Section | HIPAA_Requirement | Medical_Tech_Impact | Relevant_CVEs | CVE_Score | Safeguard_Type
MATCHED-003 | CWE-200 | Administrative | Periodic evaluation | Lack of periodic evaluation led to persistent vulnerabilities | CVE-2021-27410 (Philips IntelliBridge), CVE-2023-0754 (Medtronic) | 6.9, 7.4 | Evaluation
MATCHED-004 | CWE-200 | Administrative | Periodic evaluation | Lack of periodic evaluation led to persistent vulnerabilities | CVE-2021-27410 (Philips IntelliBridge), CVE-2023-0754 (Medtronic) | 6.9, 7.4 | Evaluation
MATCHED-006 | CWE-125 | Physical | Control physical access | Physical access vulnerabilities in imaging and monitoring systems | CVE-2021-27408 (Philips), CVE-2022-26351 (GE) | 6.8, 7.2 | Facility Access Controls